## digestion_page
Date: | 2026-05-21
Request ID: | TEST
Microwave
Element(s) | Ca
SOP#
Acid Cocktail
Rack
Vessel
Stir
Time (min) | Power (W) | T1 (°C) | T2 (°C) | P (bar)
15 | 1200 | 180 | 65 | 110
15 | 1500 | 240 | 65 | 110
sample(s) | weight (g) | volume (mL)
200126511_1 | 0.1 | 100
200126511_2 | 0.1 | 100
200126513_1 | 0.3 | 300
200126513_2 | 0.3 | 300
Microwave
Element(s) | Y
SOP#
Acid Cocktail
Rack
Vessel
Stir
Time (min) | Power (W) | T1 (°C) | T2 (°C) | P (bar)
15 | 1200 | 180 | 65 | 110
15 | 1500 | 240 | 65 | 110
sample(s) | weight (g) | volume (mL)
200126512_1 | 0.2 | 200
200126512_2 | 0.2 | 200

## 200126511
Date: | 2026-05-21
Request ID: | TEST
Ca ICP analysis
sample | Dilution | conc. [mg/L] | Ca_ppm | %Ca
200126511_1 | 1/1 |  | 0 | 0 | 0.1 | 100 | 1
200126511_2 | 1/1 |  | 0 | 0 | 0.1 | 100 | 1
ca result: |  | 0
ca result: |  | 0
ca oxide factor:
ca oxide result: |  | 0
ca lot: |  | Manufacturer: Assurance, 28-35CAY exp: 2026-10-30
Note(s):

## 200126512
Date: | 2026-05-21
Request ID: | TEST
Y ICP analysis
sample | Dilution | conc. [mg/L] | Y_ppm | %Y
200126512_1 | 1/1 |  | 0 | 0 | 0.2 | 200 | 1
200126512_2 | 1/1 |  | 0 | 0 | 0.2 | 200 | 1
y result: |  | 0
y result: |  | 0
y oxide factor:
y oxide result: |  | 0
y lot:
Note(s):

## 200126513
Date: | 2026-05-21
Request ID: | TEST
Ca ICP analysis
sample | Dilution | conc. [mg/L] | Ca_ppm | %Ca
200126513_1 | 1/1 |  | 0 | 0 | 0.3 | 300 | 1
200126513_2 | 1/1 |  | 0 | 0 | 0.3 | 300 | 1
ca result: |  | 0
ca result: |  | 0
ca oxide factor:
ca oxide result: |  | 0
ca lot: |  | Manufacturer: Assurance, 28-35CAY exp: 2026-10-30
Note(s):

## formula_page
A = crucible
B = crucible + sample
C = crucible + sample after drying
%LOI = ([B-A]-[C-A])/(B-A)*100%
ppm M+ = [conc.][volume][dilution]/[weight]
%M+ = [conc.][volume][dilution]/([weight]*10,000)
%MO = [oxide factor]*%M+
ppm M+ [dried] = ppm M+/([1-(%LOI)/100])
%M+ [dried] = %M+/([1-(%LOI)/100])
%MO [dried] = %MO/([1-(%LOI)/100])
%Cr(VI) = (1.733[mL FAS][N FAS])/([weight])
%Cr2O3 = 1.462*[%Cr(VI)]
%Cr(III) = total_Cr - Cr(VI)