## digestion_page
Date: | 2026-07-03
Request ID: | TEST
Hotplate
Analyte(s) | Na, Zr
SOP#
Cocktail
sample(s) | weight (g) | volume (mL)
200120001_1
200120001_2
200120002_1
200120002_2
Hotplate
Analyte(s) | La
SOP#
Cocktail
sample(s) | weight (g) | volume (mL)
200120002_1
200120002_2

## 200120001
Date: | 2026-07-03
Request ID: | TEST
LOI temp:
sample | crucible (g) | crucible + sample (g) | 0 | LOI (%) | correction
200120001 |  |  |  | 0 | 0
Na ICP analysis
sample | Dilution | conc. [mg/L] | Na_ppm [dried] | %Na [dried]
200120001_1 | 0 |  | 0 | 0 |  | 0 | 0 | 0
200120001_2 | 0 |  | 0 | 0 |  | 0 | 0 | 0
na result: |  | 0
na result: |  | 0
na oxide factor:
na oxide result: |  | 0
na lot: |  | Manufacturer: Assurance, 27-159NAY exp: 2026-08-30
Zr ICP analysis
sample | Dilution | conc. [mg/L] | Zr_ppm [dried] | %Zr [dried]
200120001_1 | 0 |  | 0 | 0 |  | 0 | 0 | 0
200120001_2 | 0 |  | 0 | 0 |  | 0 | 0 | 0
zr result: |  | 0
zr result: |  | 0
zr oxide factor:
zr oxide result: |  | 0
zr lot: |  | Manufacturer: Assurance, 28-64ZRY exp: 2026-10-30
Note(s):

## 200120002
Date: | 2026-07-03
Request ID: | TEST
LOI temp:
sample | crucible (g) | crucible + sample (g) | 0 | LOI (%) | correction
200120002 |  |  |  | 0 | 0
Na ICP analysis
sample | Dilution | conc. [mg/L] | Na_ppm [dried] | %Na [dried]
200120002_1 | 0 |  | 0 | 0 |  | 0 | 0 | 0
200120002_2 | 0 |  | 0 | 0 |  | 0 | 0 | 0
na result: |  | 0
na result: |  | 0
na oxide factor:
na oxide result: |  | 0
na lot: |  | Manufacturer: Assurance, 27-159NAY exp: 2026-08-30
Zr ICP analysis
sample | Dilution | conc. [mg/L] | Zr_ppm [dried] | %Zr [dried]
200120002_1 | 0 |  | 0 | 0 |  | 0 | 0 | 0
200120002_2 | 0 |  | 0 | 0 |  | 0 | 0 | 0
zr result: |  | 0
zr result: |  | 0
zr oxide factor:
zr oxide result: |  | 0
zr lot: |  | Manufacturer: Assurance, 28-64ZRY exp: 2026-10-30
La ICP analysis
sample | Dilution | conc. [mg/L] | La_ppm [dried] | %La [dried]
200120002_1 | 0 |  | 0 | 0 |  | 0 | 0 | 0
200120002_2 | 0 |  | 0 | 0 |  | 0 | 0 | 0
la result: |  | 0
la result: |  | 0
la oxide factor:
la oxide result: |  | 0
la lot: |  | Manufacturer: Assurance, 28-70LAY exp: 2027-02-28
Note(s):

## formula_page
ppm M+ = [conc.][volume][dilution]/[weight]
%M+ = [conc.][volume][dilution]/([weight]*10,000)
%MO = [oxide factor]*%M+
A = crucible
B = crucible + sample
C = crucible + sample after drying
%LOI = ([B-A]-[C-A])/(B-A)*100%
ppm M+ [dried] = ppm M+/([1-(%LOI)/100])
%M+ [dried] = %M+/([1-(%LOI)/100])
%MO [dried] = %MO/([1-(%LOI)/100])