## digestion_page
Date: | 2026-04-30
Request ID: | 100048492
Microwave
Element(s) | Co, Pt
SOP#
Acid Cocktail | 9 mL HCl, 3 mL HNO3, 6 mL H2SO4
Rack | 7
Vessel | PTFE
Stir | 90%
Time (min) | Power (W) | T1 (°C) | T2 (°C) | P (bar)
15 | 1200 | 180 | 65 | 110
15 | 1500 | 240 | 65 | 110
30 | 1500 | 240 | 65 | 110
sample(s) | weight (g) | volume (mL)
200127788_1 | 0.5049 | 100
200127788_2 | 0.5072 | 100
200127789_1 | 0.5033 | 100
200127789_2 | 0.5054 | 100
200127790_1 | 0.5044 | 100
200127790_2 | 0.507 | 100
200127791_1 | 0.506 | 100
200127791_2 | 0.5076 | 100

## 200127788
Date: | 2026-04-30
Request ID: | 100048492
LOI temp: | 900
sample | crucible (g) | crucible + sample (g) | after 900 °C | LOI (%) | correction
200127788 | 27.0107 | 29.0135 | 28.9257 | 4.3839 | 0.95616
Co ICP analysis
sample | Dilution | conc. [mg/L] | Co_ppm [dried] | %Co [dried]
200127788_1 | 100/0.25 | 2.206 | 182780.1095 | 18.278 |  | 0.5049 | 100 | 400
200127788_2 | 100/0.25 | 2.297 | 189456.952 | 18.9457 |  | 0.5072 | 100 | 400
co result: |  | 186118.5308
co result: |  | 18.6119
co oxide factor:
co oxide result: |  | 0
co lot: |  | Manufacturer: Assurance, 28-73COY exp: 2026-10-30
Pt ICP analysis
sample | Dilution | conc. [mg/L] | Pt_ppm [dried] | %Pt [dried]
200127788_1 | 10/9 | 1.503 | 345.9234 | 0.034592 |  | 0.5049 | 100 | 1.1111
200127788_2 | 10/9 | 1.468 | 336.3358 | 0.033634 |  | 0.5072 | 100 | 1.1111
pt result: |  | 341.1296
pt result: |  | 0.034113
pt oxide factor:
pt oxide result: |  | 0
pt lot: |  | Manufacturer: Assurance, 28-2PTY exp: 2027-02-28
Note(s):

## 200127789
Date: | 2026-04-30
Request ID: | 100048492
LOI temp: | 900
sample | crucible (g) | crucible + sample (g) | after 900 °C | LOI (%) | correction
200127789 | 23.3773 | 25.3792 | 25.2451 | 6.6986 | 0.93301
Co ICP analysis
sample | Dilution | conc. [mg/L] | Co_ppm [dried] | %Co [dried]
200127789_1 | 100/0.23 | 2.282 | 211287.0513 | 21.1287 |  | 0.5033 | 100 | 434.7826
200127789_2 | 100/0.23 | 2.294 | 211515.5731 | 21.1516 |  | 0.5054 | 100 | 434.7826
co result: |  | 211401.3122
co result: |  | 21.1401
co oxide factor:
co oxide result: |  | 0
co lot: |  | Manufacturer: Assurance, 28-73COY exp: 2026-10-30
Pt ICP analysis
sample | Dilution | conc. [mg/L] | Pt_ppm [dried] | %Pt [dried]
200127789_1 | 10/9 | 1.408 | 333.1541 | 0.033315 |  | 0.5033 | 100 | 1.1111
200127789_2 | 10/9 | 1.448 | 341.1951 | 0.03412 |  | 0.5054 | 100 | 1.1111
pt result: |  | 337.1746
pt result: |  | 0.033717
pt oxide factor:
pt oxide result: |  | 0
pt lot: |  | Manufacturer: Assurance, 28-2PTY exp: 2027-02-28
Note(s):

## 200127790
Date: | 2026-04-30
Request ID: | 100048492
LOI temp: | 900
sample | crucible (g) | crucible + sample (g) | after 900 °C | LOI (%) | correction
200127790 | 27.1488 | 29.1542 | 29.0779 | 3.8047 | 0.96195
Co ICP analysis
sample | Dilution | conc. [mg/L] | Co_ppm [dried] | %Co [dried]
200127790_1 | 100/0.23 | 2.289 | 205111.0927 | 20.5111 |  | 0.5044 | 100 | 434.7826
200127790_2 | 100/0.23 | 2.365 | 210834.4713 | 21.0834 |  | 0.507 | 100 | 434.7826
co result: |  | 207972.782
co result: |  | 20.7973
co oxide factor:
co oxide result: |  | 0
co lot: |  | Manufacturer: Assurance, 28-73COY exp: 2026-10-30
Pt ICP analysis
sample | Dilution | conc. [mg/L] | Pt_ppm [dried] | %Pt [dried]
200127790_1 | 10/9 | 2.173 | 497.6092 | 0.049761 |  | 0.5044 | 100 | 1.1111
200127790_2 | 10/9 | 2.18 | 496.6521 | 0.049665 |  | 0.507 | 100 | 1.1111
pt result: |  | 497.1307
pt result: |  | 0.049713
pt oxide factor:
pt oxide result: |  | 0
pt lot: |  | Manufacturer: Assurance, 28-2PTY exp: 2027-02-28
Note(s):

## 200127791
Date: | 2026-04-30
Request ID: | 100048492
LOI temp: | 900
sample | crucible (g) | crucible + sample (g) | after 900 °C | LOI (%) | correction
200127791 | 26.4967 | 28.5045 | 28.421 | 4.1588 | 0.95841
Co ICP analysis
sample | Dilution | conc. [mg/L] | Co_ppm [dried] | %Co [dried]
200127791_1 | 100/0.2 | 1.518 | 156508.8604 | 15.6509 |  | 0.506 | 100 | 500
200127791_2 | 100/0.2 | 1.64 | 168554.3282 | 16.8554 |  | 0.5076 | 100 | 500
co result: |  | 162531.5943
co result: |  | 16.2532
co oxide factor:
co oxide result: |  | 0
co lot: |  | Manufacturer: Assurance, 28-73COY exp: 2026-10-30
Pt ICP analysis
sample | Dilution | conc. [mg/L] | Pt_ppm [dried] | %Pt [dried]
200127791_1 | 10/9 | 1.243 | 284.7907 | 0.028479 |  | 0.506 | 100 | 1.1111
200127791_2 | 10/9 | 1.255 | 286.6337 | 0.028663 |  | 0.5076 | 100 | 1.1111
pt result: |  | 285.7122
pt result: |  | 0.028571
pt oxide factor:
pt oxide result: |  | 0
pt lot: |  | Manufacturer: Assurance, 28-2PTY exp: 2027-02-28
Note(s):

## formula_page
A = crucible
B = crucible + sample
C = crucible + sample after drying
%LOI = ([B-A]-[C-A])/(B-A)*100%
ppm M+ = [conc.][volume][dilution]/[weight]
%M+ = [conc.][volume][dilution]/([weight]*10,000)
%MO = [oxide factor]*%M+
ppm M+ [dried] = ppm M+/([1-(%LOI)/100])
%M+ [dried] = %M+/([1-(%LOI)/100])
%MO [dried] = %MO/([1-(%LOI)/100])
%Cr(VI) = (1.733[mL FAS][N FAS])/([weight])
%Cr2O3 = 1.462*[%Cr(VI)]
%Cr(III) = total_Cr - Cr(VI)