Submission ID: 100045430

Project #: LC454RD0030

Analysis: IC

prep={hotplate:50 ml NaOH, filter:True, for:Cl}

| sample | weight (g) | volume (mL) |
| --- | --- | --- |
| 2-118993 | 3.5012 | 100 |

Cl_ppm

| sample | Dilution | conc. [mg/L] | %Cl | Blank=0.3374 mg/L |
| --- | --- | --- | --- | --- |
| 2-118993 | 25x | 10.1131 | 0.72 |  |