Submission ID: 100045541

Project #: LR418RD0006

Analysis: Agilent OES

prep={dilution}

| sample | weight (g) | volume (mL) |
| --- | --- | --- |
| 2-119303 | 14.9549 | 25 |

Na_ppm

| sample | analysis prep | Dilution | conc. [mg/L] | 000,0000 Na |
| --- | --- | --- | --- | --- |
| 2-119303 | [0.5 ppm, 1.0 ppm] [Na] | 10x | 0.854 | 14.27 ppm |

Na lot: 27-51NAX exp: 2024-09-30

Reference page for formulas

000,0000M+=conc.volumedilutionweight=M+ ppm