Submission ID: 100045785

Project #: LC454RD0030

Analysis: IC

prep={hotplate:50 ml NaOH, filter:True, for:Cl}

| sample | weight (g) | volume (mL) |
| --- | --- | --- |
| 2-119946 | 4.5220 | 100 |

Cl_ppm

| sample | Dilution | conc. [mg/L] | %Cl | Blank=0 mg/L |
| --- | --- | --- | --- | --- |
| 2-119946 | 20x | 17.2119 | 0.76 |  |

Cl lot: 4302K79 exp: 2025-02-01

Reference page for formulas

000,0000A-=conc.volumedilutionweight=A- ppm