Submission ID: 100046017

Project #: LF43800003

Sample prep: None

Analysis: ISE

NH3_ppm

| sample | density [mL/g] | dilutions | voltage [mV] | conc. [mg/L] | 000,0000 NH3 |
| --- | --- | --- | --- | --- | --- |
| 2-120485 | 1 | 5x | 22.0 mV | 23.4 | 117.0 ppm |
| 2-120486 | 1 | 1x | 9.9 mV | 37.4 | 37.4 ppm |

Ammonia lot: BR1 exp: 2025-09-30

Reference page for formulas

000,0000M+=conc.[dilution]=M+ ppm