Submission ID: 100046514

Project #: LR438RD0004

Analysis: IC

prep={hotplate:50 ml NaOH, filter:True, for:NO3}

| sample | weight (g) | volume (mL) |
| --- | --- | --- |
| 2-121852 | 1.0065 | 100 |

NO3_ppm

| sample | Dilution | conc. [mg/L] | 000,0000NO3 |
| --- | --- | --- | --- |
| 2-121852 | 2x | 9.4597 | 1879.72 ppm |

NO3 lot: 1305T96 exp: 2024-11-01

Reference page for formulas

%M+=conc.volumedilutionweight*104