Submission ID: 100046681

Project #: LR414RD0002

Analysis: IC

prep={hotplate:50 ml NaOH, filter:True, for:NO3}

| sample | weight (g) | volume (mL) |
| --- | --- | --- |
| 2-122355 | 1.0051 | 100 |

NO3_ppm

| sample | Dilution | conc. [mg/L] | 000,0000NO3 |
| --- | --- | --- | --- |
| 2-122355 | 1x | 12.2018 | 1213.99 ppm |

NO3 lot: 1305T96 exp: 2024-11-01

Reference page for formulas

000,0000M-=conc.volumedilutionweight=ppm M-