Submission ID: 100047296

Project #: LC454RD0034

Analysis: IC

pep={hotplate:50 ml NaOH, filter:True, for:NO3}

| sample | weight (g) | volume (mL) |
| --- | --- | --- |
| 2-124395 | 1.0060 | 100 |

NO3_ppm

| sample | Dilution | conc. [mg/L] | 000,0000 NO3 |
| --- | --- | --- | --- |
| 2-124395 | 25/8 | 12.9988 | 4037.90 ppm |

NO3 lot: 4410M47 exp: 2026-04-30

Reference page for formulas

000,0000A-=conc.volumedilutionweight=ppm A-