Submission ID: 100047492

Project #: LC454RD0034

Analysis: IC

prep={hotplate:50 ml NaOH, filter:True, for:NO3}

| sample | weight (g) | volume (mL) |
| --- | --- | --- |
| 2-125035 | 1.0065 | 100 |

NO3_ppm

| sample | Dilution | conc. [mg/L] | 000,0000NO3 |
| --- | --- | --- | --- |
| 2-125035 | 25/8 | 7.5530 | 2345.07 ppm |

NO3 lot: 4410M47 exp: 2026-04-30

Reference page for formulas

000,0000A-=conc.volumedilutionweight=A- ppm