Submission ID: 100047518

Project #: LF418TS-25-3589

Analysis: IC

prep={hotplate:50 ml NaOH, filter:True, for:Cl}

| sample | weight (g) | volume (mL) |
| --- | --- | --- |
| 2-125098 | 1.0054 | 100 |

Cl

| sample | Dilution | conc. [mg/L] | 000,0000Cl |
| --- | --- | --- | --- |
| 2-125098 | 100/100 | 0.4764 | 47.38 ppm |

Cl lot: 2502C26 exp: 2027-01-31

Reference page for formulas

000,0000M-=conc.volumedilutionweight=ppm M-