Submission ID: 100047662

Project #: LF448PS-23-2855

Analysis: IC

prep={hotplate:50 ml NaOH, filter:True, for:NO3}

| sample | weight (g) | volume (mL) |
| --- | --- | --- |
| 2-125526 | 1.0041 | 100 |

NO3

| sample | Dilution | conc. [mg/L] | %NO3 |
| --- | --- | --- | --- |
| 2-125526 | 25/3 | 9.8575 | 0.82 |

Manufacturer: Ricca, NO3 lot: 4410M47 exp: 2026-04-30

Reference page for formulas

%A-=conc.volumedilutionweight*104